## Sheet1
Research FAST FACTS for Nurses!
Pediatric Influence of Cooling duration on Efficacy In Cardiac Arrest Patients
Study Treatment
Subjects will be randomized into one of 10 durations of cooling ranging from 0hrs to 96hrs :
| 0 h | 12 h | 18 h | 24 h | 36 h | 48 h | 60 h | 72 h | 84 h | 96 h
Subjects will be cooled using a BLANKETROL III set to a target temperature of 33ºC.
After the allocated duration of cooling is completed, controlled re-warming to 36.8ºC will occur over approximately 16 hours.
After re-warming, the normothermic target of 36.8ºc will be used until 120 hours from the time the Blanketrol III was set to 33ºC.
Temperature Monitoring
Core temperature must be monitored continuously (hourly) for 120 hours for all study patients.
Core body temperature will be measured at TWO sites for safety. Esophageal and bladder are the preferred sites. Rectal temperature is the alternative.
The esophageal probe is the preferred primary probe connected to the Blanketrol III.
If there is a discrepancy of greater than 2ºC between the two temperature measurements, call Dr. Meert (313-549-9253).
Bedside Log
If you are taking care of a study patient, expect to see someone from the research team who will provide more instruction and a bedside log to document hourly temperatures.
AIMS
2.
3..
AIM: - to determine the optimal duration of cooling that is associated with better neurological outcomes in pediatric comatose survivors of out-of-hospital cardiac arrest.
1.
4.